
Appendix 3.: Technical form which must be duly completed and signed at the same time as the tender

Name of Tenderer: 

Procedure reference: 2026_01 SUPPLY AND MAINTENANCE OF AUTOMATED EXTERNAL DEFIBRILLATORS (AED)

The technical proposition may not exceed 5 pages: Arial font, size 11, single-spaced, excluding the index, cover and back cover.  In this section, the bidder must obtain a minimum of 15,00 points to be able to continue being evaluated on the criteria through the application of mathematical formulas. Those who do not submit the technical proposal will receive 0,00 points.

1.1 Operational usability and guidance	
Clarity and usability of audio and visual prompts; ease of operation by trained lay rescuers; clarity of instructions during patient assessment, shock delivery and CPR; practical use in a school emergency environment.
1.2 CPR support and patient management	
Quality and usefulness of CPR guidance; feedback on compression rate and/or depth, where available; ease and safety of switching to, or activating, paediatric use; practical suitability of the adult and paediatric electrode solution.
1.3 Reliability, monitoring and readiness	
Automatic self-test functions; clarity of ready-for-use and fault indicators; battery and electrode status monitoring; system alerts; expected battery and electrode shelf life; operational reliability of the proposed solution.
1.4 Environmental robustness and physical suitability	
Suitability for indoor and outdoor school locations; ingress protection; resistance to dust, moisture and normal handling; portability, weight, dimensions, storage and carrying arrangements.
1.5 Data management, documentation and technical support	
Event-data recording and retrieval; accessibility of data; language availability; quality of user documentation; availability of software updates; cybersecurity and data-protection features where relevant.


Surname, first name and position of the tenderer's representative authorised to sign:

Date:

Signature:



ANNEXES: 
You can provide examples related to the descriptions in each pack
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